## HVAC Equipment
Grace Family Fellowship
HVAC Equipment
A/C Equipment
Unit # | Thermostat | Thermostat Type | Thermostat Location | Air Handler | Year Air Handler | Condenser | Tons | Type | Year of Unit | Equipment Location | Supplies | Model | Serial | Model | Serial | Filter | Condition: 10 = perfect; 1 = replace immediately | Cost to Replace with Like/Like | Cost to Replace w/ Efficient Model
101 | Room 100 | Manual | North Wall | Magicaire | 1992 | Rheem | 7.5 | Split | 1992 | Corral | 100/102/M&W Restrooms | WAWRC075CAS | 4860G25927784 | 90BVWBVX | 920436341 | 3-16x25x2
102 | Room 108 |  | North Wall | Carrier | 1986 | Carrier | 20 | Split | 2008 | Mech Rm 1 | 101/103/104/105/106/107/108/110/112/114/122/124/126/M&W Restrooms | 38AKS028501 | 0608Q08365 | 40RR024020 | Q694420 | 4-20x20x2,4-16x20x2
103 | Room 109 |  | West Wall | Carrier | 1986 | Heil | 5 | Split | 1990 | S Window Well | 109/116/118 | CA4060VKC1 | L902095262 | 40QH062300 | 0386A05989 | 1-18x25x1
105 | Room 113 |  | North Wall | Carrier | 1990 | Carrier | 3 | Split | 1992 | Garden | 113/115/128/130 | 38CK036310 | 2192E13115 | 40AQ036300B | 1986A20478 | 1-20x20x1
104 | Room 117 | HW TB8220U | North Wall | York | 1986 | York | 10 | Split | 1998 | Garden | 117/119/120 | H3CE120A25 | NOG6657444 | K3EU120A33A | NGX5115654 | 2-24x24x1
206 | Church Office | Manual | South Wall | Magicaire | 1992 | Rheem | 5 | Split | 1992 | Corral | Support Staff Cubes/Receptionist/Lobby | SFCR10603A | 4660M21925011 | 60BHX-3 | 920537244 | 2-20x20x2
207 | Church Office G |  | East Wall | Magicaire | 1992 | Rheem | 3.5 | Split | 2002 | Corral | E/F/G/H/I | RAKA042CAZ | 5462M360202524 | 48BHX3 | 920641514 | 2-16x20x2
208 | Church Office B/D |  | North Wall | Magicaire | 1992 | Rheem | 4 | Split | 2003 | Office Ceiling | B/D/Support Staff Cubes | RAKA048CAZ | 5433M260318409 | 48BHX3 | 920537205 | 2-16x20x2
209 | Church Office A |  | South Wall | Magicaire | 1992 | Rheem | 3 | Split | 1992 | Office Ceiling | A/C/J/233 | SFCR10483A | 4014M23928489 | 36BHX-3 | 920131354 | 2-16x16x2
210 | Room 200 | Manual | North Wall | Magicaire | 1992 | Rheem | 7.5 | Split | 1992 | Corral | 200/201/M&W Restrooms | WAWRC075CA5 | 4860G25927785 | 90BVWBYX | 920436342 | 3-16x25x2,3-16x25x2
211 | Room 206 | HW TB8220U | West Wall | Carrier | 1986 | Carrier | 20 | Split | 2008 | Roof | 202/203/204/205/206/207/208/208A/208B/209/210/211/212/213/M&W Restrooms | 38AKS028501 | 0608Q08355 | 40RR028007 | R694308 | 10-16x20x2,2-14x20x2
212 | Sanctuary |  | Sacristy Rm. | Carrier |  | Carrier | 18 | Package | 2002 | Roof | South Sanctuary | 50AWB020500AA | 5002F94552 |  |  | 10-20x24x2
213 | Sanctuary |  | Sacristy Rm. | Carrier |  | Carrier | 18 | Package | 2002 | Roof | North Sanctuary | 50AWB020500AA | 5002F94553 |  |  | 10-20x24x2
214 | Sanctuary |  | Sacristy Rm. | Carrier |  | Carrier | 15 | Package | 1990 | Roof | South Transept Sanctuary | 50DP0165510AP | 2190G70628 |  |  | 2-20x25x2,2-16x25x2,1-20x20x2,1-16x20x2
215 | Sanctuary |  | Sacristy Rm. | Carrier |  | Carrier | 25 | Package | 1976 | Roof | North Transept Sanctuary | SA181-25A | No Tag |  |  | 12-16x20x2
216 | Room 222 |  | West Wall | Carrier | 1986 | Carrier | 12.5 | Split | 1986 | Roof | 214/215/216/217/219/220/222/224/M&W Restrooms | 38AW014500 | S697261 | 40RR012550 | T695769 | 3-20x20x1
217 | Room 228 |  | East Wall | York |  | Carrier | 7.5 | Split | 1990 | Garden | 221/223/225/226/227/228/230 | 38AEC008510 | 4990G37180 | N/A | N/A | 2-24x24x1
218 | Welcome Center | Basys | South Wall | Aaon |  | Aaon | 10 | Package | 2000 | Roof | 229/231/232/234/Welcome Center | 26537RK-10-2-E-0222 | 200001AKGJ01172 |  |  | 6-16x20x2
219 | Commons | HW TB8220U | South Wall | Aaon |  | Aaon | 25 | Package | 2000 | Roof | 236 | 26535RK-25-2-E-0317 | 200001AKGP01125 |  |  | 2-16x25x4,4-20x25x4
220 | Common/ROC Entry | HW TB8220U | East Wall | Aaon |  | Aaon | 10 | Package | 2000 | Roof | 238/244/248/Hallway/M&W Restrooms | 26537RK-10-2-E-0222 | 200001AKGJ01173 |  |  | 6-16x20x2
221 | Commons | HW TB8220U | South Wall | Aaon |  | Aaon | 25 | Package | 2000 | Roof | 240 | 26535RK-25-2-E-0317 | 200001AKGP01126 |  |  | 2-16x25x4,4-20x25x4
222 | ROC/Gym | HW TB8220U | South Wall | Aaon |  | Aaon | 20 | Package | 2000 | Roof | 242 | 26536RK-20-2-E-0317 | 200001AKGN01127 |  |  | 2-16x25x4,4-20x25x4
223 | ROC/Gym | Basys | South Wall | Aaon |  | Aaon | 20 | Package | 2000 | Roof | 246 | 26536RK-20-2-E-0317 | 200001AKGN01128 |  |  | 2-16x25x4,4-20x25x4
324 | Room 342 | HW TB8220U | West Wall | Magicaire | 1995 | Carrier | 3.5 | Split | 1995 | Corral | 342/344 | 38CK042530 | 0595E07617 | 36BHX3 | 950837518 | 2-16x16x2
325 | Room 343 | HW TB8220U | East Wall | Magicaire | 1994 | Carrier | 4 | Split | 1994 | Corral | 343/345 | 38CKB048510 | 2395E07617 | 48BHX3A | 941106744 | 2-16x20x2
326 | Room 338 | Honeywell | South Wall | Magicaire | 1995 | Carrier | 7.5 | Split | 1994 | Corral | 336/338/340/341 | 38AK008501 | 4294G0025 | 90BHX3A | 950734231 | 1-20x25x2,2-16x25x2
327 | Room 339 | Honeywell | East Wall | Magicaire | 1995 | Carrier | 7.5 | Split | 1995 | Corral | 333/335/337/339 | 38AK008501 | 2395G00066 | 90BHX3A | 950734251 | 1-20x25x2,2-16x25x2
328 | Room 346/348/350 | Honeywell | North Wall | Magicaire | 1996 | Carrier | 7 | Split | 2004 | Corral | 346/348/350/M&W Restrooms | 38ARZ008-501 | 5104G40042 | 90BHX3A | 960874414 | 1-20x25x2,2-16x25x2
329 | Room 304 |  | North Wall | Carrier | 1986 | Carrier | 20 | Split | 2000 | Roof | 301/302/302A/302B/303/304/305/306/307/308/309/310/311/312/313/M&W Restrooms | 38AKS028-500 | 1900F01575 | 40RR028007 | T696375 | 10-16x20x2,2-15x20x2
330 | Room 323 |  | North Wall | Carrier | 1986 | Carrier | 20 | Split | 2000 | Roof | 314/315/316/317/318/319/320/321/322/323/324/325/326/327/M&W Restrooms | 38AKS024510 | 0200F71740 | 40RR024-020 | Q694416 | 4-16x20x2,4-20x20x2
331 | Crossing | Basys | West Wall | Aaon |  | Aaon | 13 | Package | 2000 | Roof | 328/329/330/331/332 | 26539RK-13-2-E-0222 | 200001AKGK01174 |  |  | 6-16x20x2
Boilers
Unit # | Location | Boiler | Type | Supplies | [8 empty] | Filter Chart
1 | Mechanical Room 3 | Hydrotherm | Gas-Converted | Units 1-5 serve the Sanctuary/ | [8 empty] | 18 X 25 X 1 | Dispos | 1 | A48
2 | Mechanical Room 3 | Hydrotherm | Gas-Converted | Fellowship Hall/Lobby areas/113/ | [8 empty] | 14 X 20 X 2 | Dispos | 4 | BX73
3 | Mechanical Room 3 | Hydrotherm | Gas-Converted | 115/128/130/213 and all rooms of | [8 empty] | 16 X 20 X 2 | Pleated | 3 | A39
4 | Mechanical Room 3 | Hydrotherm | Gas-Converted | the North Wing 2nd & 3rd Floors. | [8 empty] | 16 X 25 X 4 | Pleated | 1 | A23
5 | Mechanical Room 3 | Weil-McClain | Gas | [9 empty] | 20 X 20 X 1 | Dispos | 2 | B55
6 | Mechanical Room 2 | American Standard | Gas | Unit 6 serves the South Wing 1st, 2nd & 3rd floors including 109/116/118/122/124/126, | [8 empty] | 24 X 24 X 1 | Dispos | 4 | B85
|  |  |  | M/W restrooms from the front of the building to the back of the building stopping | [8 empty] | 20 X 20 X 2 | Dispos | 1 | A36
|  |  |  | at the hallway between rooms 102 & 104. | [8 empty] | 20 X 24 X 2 | Dispos | 2 | A42
7 | Mechanical Room 1 | Columbia | Gas | Unit 7 serves rooms 100/102/200/201-333/335/336/337/338/339/340 | [8 empty] | 20 X 25 X 2 | Dispos | 1 | A55
|  |  |  | 341/342/343/344/345/346/348 including M&W restrooms | [8 empty] | 20 X 25 X 4 | Pleated
We also have approximately 25 circulating pumps.
Sump Pumps
# | Location
2 | Mechanical Room 1
1 | Mechanical Room 2
1 | Mechanical Room 3